Analysis report
Ozge Aktas
34Si on C target
Run # 1131- 1151 (1 day)

---
Until now
Exogam re calibrated
Exo ZDD recalibrated
Addback procedure implemented
Doppler correction
The beam line dedector checked :
To choose cleaner configuration.
Plastic DE E isotopes identified,
cross checked with exogam nad compared with DSSD.

---
LISE→
TOF_D4_D6 vs CATSD4_HF

---
CHIO vs CATSD4_HF

---
ZDD
Plastic vs IC (Si34 selected in tof_d4d6 vs catsd4 pid)

---
ZDD
PL vs IC_ZDD (time correlation cuts with Exogam first hit)
1
2 Silicon
1 Phosphorus
3 Aluminium
4 Magnesium

---
Si
Al
Si
Mg
Na
Ne
F

---
Silicon isotopes correlation with ZDD
4860 keV → 31Si or 32P gs
5770 keV - > 31P gs contamination
69 keV → ? maybe→ 32Si beta decay to 32P (t1/2=153y) Beta E = 69 keV
5450 → ?

---
Al, PL3 /DSSD2 cuts

---
Mg pl4/dssd cuts
1788 → 30Mg (0+→ 0+) 3.9 ns ~ 12 cm legnth for c ,& for 0.3c → 36 cm
→ 32Mg(2- , 3- → 2-, 3-) but we don’t see the cascade to gs (2152 kev & 885 kev)
1150 → 28Mg (3- → 4+) or (0+→ 1+) again cascade decay is not visible (3087 keV & 1473 keV)

---
P isotopes only in ZDD plastic

---
23Na Dssd4

---
Ne DSSD5

---
Flor DSSD

---
DeltaTV alignment for addback time
Time diff btw two crystal
Addback time →
 -1000 to 1000 (channel)

---
Doppler correction
Float_t Analyse_E823::Doppler_Correction(float Theta_Gamma, float Phi_Gamma, float Theta_Part, float Phi_Part, float Beta_Part, float energie_Mes){ //rad, v/c
float energievraie,cosinusPSI;
    cosinusPSI =TMath::Sin(Theta_Part)*TMath::Cos(Phi_Part)*TMath::Sin(Theta_Gamma)*TMath::Cos(Phi_Gamma)+
    TMath::Sin(Theta_Part)*TMath::Sin(Phi_Part)*TMath::Sin(Theta_Gamma)*TMath::Sin(Phi_Gamma)+
    TMath::Cos(Theta_Part)*TMath::Cos(Theta_Gamma);
  energievraie = energie_Mes*(1.-Beta_Part*cosinusPSI)/sqrt(1.-Beta_Part*Beta_Part);
  return energievraie;
Theta_Gamma=exogamCrystalPositions[crystalAddbackIndexes[i]*4].Theta();
Beta_Part = Float_t ejectileBetaDefault = 0.305;

---
addback

---
Time diff btw two crystal
Time is from TDC , not timestamp

---
CHIO_LISE vs CFA_HF